Procedural Review Voting Sheet

2015 Cycle 1

REGION: North America

COMMITTEE: HB-LED

EVENT: North America Standards Spring 2015 Meetings

DATE OF MEETING: April 2, 2015

PLACE OF MEETING: SEMI Headquarters in San Jose, California

COMMITTEE CO-CHAIRS: Mike Feng/Silian, Chris Moore/BayTech-Resor, Iain Black/Philips Lumileds

SEMI STAFF: Michael Tran

A&R Voter: Name/Company

Date: 200X/MM/DD

I. Document Number & Title

| Document 5747 | New Standard: Test Method for Measurement of Saw Marks on Crystalline Sapphire Wafers Using Optical Probes |
| --- | --- |

II. Tally (Staff to fill in)

Voting Tally: As-cast tally after close of voting period

A minimum of 60% of the voting interests that have voting members within the technical committee must return votes. (Regulations ¶ 9.6.1)

| A&R |  | Not approved |
| --- | --- | --- |
|  | Reason: |

III. Rejects

There were no reject votes received for Document 5747.

IV. Comments

Comment 1

| Comment | Referenced Section | *TF/Committee to fill in if necessary |
| --- | --- | --- |
|  | From | Rafael Vargas-Bernal (ITSdI) |
|  | Comment | Verify writing of subsection 2.3. In subsection 8.3 requires '.' between '14' and 'The'. In subsection 13.5 is required a '.' |
|  | Discussion | The periods were missing due to the document conversion from Word to PDF. SEMI Publications will ensure the periods are shown prior to publishing. |
| Action proposed | X | The committee agreed to do one of the following actions. |
|  |  | *No motion is required in this step. |
|  |  | X | No further action was taken by the committee. |
|  |  |  | Refer to the task force for more consideration. |
|  |  |  | New Business |
|  |  |  | Other |
| A&R |  | Not approved |
|  | Reason: |

Comment 2

| Comment | Referenced Section | *TF/Committee to fill in if necessary |
| --- | --- | --- |
|  | From | Sungjin Jun (LGE) |
|  | Comment | Is there no difference of measurement accuracy between single and double side polished wafer? If there are difference, test method should be classified by a wafer polishing side, such as single side polishing and double side polishing. If no, test result is needed. |
|  | Discussion | The TF appreciates the comments. The documents state explicitly the surface condition for which the document is valid: as-cut, etched, polished (5748), as-cut (5747), as-cut, lapped (5749). Precision of DSP wafers is better as compared to PSS wafers. An MSA with a DSP wafer will be introduced in the document in an immediate revision. |
| Action proposed | X | The committee agreed to do one of the following actions. |
|  |  | *No motion is required in this step. |
|  |  |  | No further action was taken by the committee. |
|  |  |  | Refer to the task force for more consideration. |
|  |  | X | New Business |
|  |  |  | Other |
| A&R |  | Not approved |
|  | Reason: |

Comment 3a

| Comment | Referenced Section | *TF/Committee to fill in if necessary |
| --- | --- | --- |
|  | From | Yang Gan (Harbin Institute of Technology) |
|  | Comment | Remove crystalline from the title. There are no non-crystalline sapphire substrates. See the title of SEMI HB1. |
|  | Discussion | There is nothing wrong with the title. |
| Action proposed | X | The committee agreed to do one of the following actions. |
|  |  | *No motion is required in this step. |
|  |  | X | No further action was taken by the committee. |
|  |  |  | Refer to the task force for more consideration. |
|  |  |  | New Business |
|  |  |  | Other |
| A&R |  | Not approved |
|  | Reason: |

Comment 3b

| Comment | Referenced Section | *TF/Committee to fill in if necessary |
| --- | --- | --- |
|  | From | Yang Gan (Harbin Institute of Technology) |
|  | Comment | Change CSW to CW according throughout. |
|  | Discussion | There is nothing wrong with CSW. |
| Action proposed | X | The committee agreed to do one of the following actions. |
|  |  | *No motion is required in this step. |
|  |  | X | No further action was taken by the committee. |
|  |  |  | Refer to the task force for more consideration. |
|  |  |  | New Business |
|  |  |  | Other |
| A&R |  | Not approved |
|  | Reason: |

Comment 3c

| Comment | Referenced Section | *TF/Committee to fill in if necessary |
| --- | --- | --- |
|  | From | Yang Gan (Harbin Institute of Technology) |
|  | Comment | Section 16.4--capable should be capable of. |
|  | Discussion | o.k., editorial change. |
| Action proposed | X | The committee agreed to do one of the following actions. |
|  |  | *No motion is required in this step. |
|  |  |  | No further action was taken by the committee. |
|  |  |  | Refer to the task force for more consideration. |
|  |  |  | New Business |
|  |  |  | Other |
|  | Editorial Change |  |
|  |  | X | Case 1: No vote in this section : |
|  |  |  | To be included and voted on in § 5. Summary of Editorial Changes. |
| A&R |  | Not approved |
|  | Reason: |

Comment 4

| Comment | Referenced Section | *TF/Committee to fill in if necessary |
| --- | --- | --- |
|  | From | Mike Feng (Silian) |
|  | Comment | These three files (5747, 5748, 5749) are with same method. It is better to have one document instead of three document. |
|  | Discussion | Originally only one document was planned, but the NA HB-LED TC recommended to have a document for each test method so that it will be easier to revise a single test method in the future. |
| Action proposed | X | The committee agreed to do one of the following actions. |
|  |  | *No motion is required in this step. |
|  |  | X | No further action was taken by the committee. |
|  |  |  | Refer to the task force for more consideration. |
|  |  |  | New Business |
|  |  |  | Other |
| A&R |  | Not approved |
|  | Reason: |

V. Summary of Editorial Changes

Note: Original section number and at least one full sentence are required in “FROM” and “TO” fields.

| 1 | Proposed Change: Add the word ‘of’ to Section 16.4 |
| --- | --- |
|  | FROM: Section 16.4 16.4 Provisional reference materials may be qualified by using appropriate equipment that is capable measuring certified reference materials as well as silicon wafers (SEMI MF1569). |
|  | TO: Section 16.4 16.4 Provisional reference materials may be qualified by using appropriate equipment that is capable of measuring certified reference materials as well as silicon wafers (SEMI MF1569). |
|  | Justification: (if necessary) To clarify the sentence. |
| Motion | To approve the above editorial changes |
| Motion by/2nd by | Peter Wagner (Self) / Steve Martel (Sonoscan) |
| Discussion | None. |
| Vote | 4-0 Motion passed |
| A&R |  | Not approved |
|  | Reason: |

VI. Approval Conditions Check

APPROVAL CONDITION 1: All negatives have been discussed and were withdrawn, found not related, or not persuasive. (Regulations ¶ 9.6.2)

APPROVAL CONDITION 2: At least 90% of the sum of the valid accept and reject votes must be accept. (Regulations ¶ 9.6.3)

Note: if both approval conditions are not satisfied, the document fails.

| A&R |  | Not approved |
| --- | --- | --- |
|  | Reason: |

VII. Safety Check

See § 15 of the Regulations for further information

| Motion: | X | This is not a Safety Document: when all safety-related information is removed, the document is still technically sound and complete. |
| --- | --- | --- |
|  |  | This is a Safety Document: when all safety-related information is removed, the document is not technically sound and complete. |
|  |  |  | Safety Checklist (Regulations ¶ 14.3) is complete and has been included with the document throughout the balloting process. |
| Motion by/2nd by | Peter Wagner (Self) / Steve Martell (Sonoscan) |
| Discussion | None. |
| Vote | 4-0 Motion passed |
| A&R |  | Not approved |
|  | Reason: |

VIII. Intellectual Property Check

Note: This ballot may be all or part of a Standard or Safety Guideline.  This IP check applies to the entire Standard or Safety Guideline.  See § 16 of the Regulations for further information

| X | The meeting chair asked those present in person or by electronic link, if they were aware of any potentially material patented technology or copyrighted items* in the Standard or Guideline. |
| --- | --- |
|  | X | No potentially material patented technology or copyrighted items are known | GO TO SECTION IX |
|  |  | Potentially material patented technology or copyrighted items are known but a Letter of Assurance (LOA) or copyright release for such material has been obtained or presented to the committee. | GO TO SECTION IX |
| A&R |  | Not approved |
|  | Reason: |

* Note: Such potentially material patented technology or copyrighted items might have become known since the Standard or Safety Guideline was last reviewed, or might become relevant due to this ballot.

IX. Action for this document

| Motion |  | This document passed committee review as balloted and will be forwarded to the A&R for procedural review. |
| --- | --- | --- |
|  | X | This document passed committee review with editorial changes and will be forwarded to the A&R for procedural review. |
|  |  | This document failed committee review and will be returned to the task force for rework. |
|  |  | This document failed committee review and work will be discontinued. |
| Motion by/2nd by | Steve Martell (Sonoscan) / Peter Wagner (Self) |
| Discussion | None. |
| Vote | 4-0 |
| Final Action | X | Motion passed |
|  |  | Motion failed |
| A&R |  | Approved |
|  |  | Not approved |
|  | Reason: |