STANDARDS NEW ACTIVITY REPORT FORM (SNARF)

| Date Prepared: | April 26, 2020 |  | Revised (if Applicable): |  |
| --- | --- | --- | --- | --- |

| SNARF for: | Revision to SEMI F63-0918, Guide for Ultrapure Water Used in Semiconductor Processing |
| --- | --- |

| Originating Global Technical Committee: | Liquid Chemicals |
| --- | --- |
| Originating TC Chapter: | North America |
| Task Force (TF) in which work is to be carried out: | UPW TF |

| Submitted by: | Slava Libman | Company: | FTD Solutions |
| --- | --- | --- | --- |
| Email: | slibman@ftdsolutions.net |
| Phone: | +1.408.824.0200 |  |  |

Refer to Procedure Manual § 2.2.4 for more information on properly filling out the SNARF.

1. Rationale:

a: Describe the need or problem addressed by this activity.

(Indicate the customer, what benefits they will receive, and if possible, quantify the impact on the return on investment [ROI] if the Document is implemented.)

2020 revision of SEMI F063 will provide alignment between SEMI and IRDS specifications for the UPW quality for the advanced semiconductor facilities. According to the definitions of 2010 revision, the F063 guide is supposed to be updated every two years to keep up the pace of ITRS (IRDS) development. This 2020 effort will incorporate recent findings/information of UPW IRDS and will be based 2020 IRDS published roadmap.

b: Estimate effect on industry. Check one of the following:

| □ 1: Major effect on entire industry or on multiple important industry sectors |
| --- |
| - identify the relevant sectors: |  |
| ( 2: Major effect on an industry sector |
| - identify the relevant sector: | UPW system suppliers and end users |
| □ 3: Major effect on a few companies |
| - identify the relevant companies: |  |
| □ 4: Slight effect or effect not determinable |

c: Estimate technical difficulty of the activity. Check one of the following:

□ I: No Difficulty – Proven concepts and techniques exist or quick agreement is anticipated

( II: Some Difficulty – Disagreements on known requirements exist, but developing consensus is possible

□ III: Difficult – Limited expertise and resources exist and/or achieving consensus is difficult

□ IV: Extremely Difficult – Expertise and resources are scarce and/or achieving consensus is very difficult

2. Scope:

a: Describe the technical areas to be covered or addressed by this Document development activity.

(For Subordinate Standards, list common concepts or criteria that the Subordinate Standard inherits from the Primary Standard, as well as differences from the Primary Standard.)

UPW quality

b: Expected result of activity

| □ New Standard or Safety Guideline (including replacement of an existing Standard or Safety Guideline) □ New Subordinate Standard to an existing Standard or to a new Primary Standard to be developed concurrently with this new Subordinate Standard □ New Preliminary Standard ( Major revision to an existing Standard or Safety Guideline □ Line-item revision to an existing Standard or Safety Guideline | □ Line-item revision to two or more existing Standards or Safety Guidelines □ Reapproval of a Standard or Safety Guideline □ Removal of a Standard or Safety Guideline □ Withdrawal of a Standard or Safety Guideline □ Reinstatement of a Standard or Safety Guideline □ Publication of an existing Standard or Safety Guideline as an American National Standard □ New Auxiliary Information □ Modification of existing Auxiliary Information |
| --- | --- |

| For a new Subordinate Standard, identify the Primary Standard here: |  |
| --- | --- |

| For revision of existing Standard(s) or Safety Guideline(s), identify the Standard(s) or Safety Guideline(s) that are to |
| --- |
| be revised here: | SEMI F63 | , and identify which parts of the Standard(s) or Safety Guideline(s) that are to be |
| revised. (Check all that apply.) |

( Modification of an existing part of Standard(s) or Safety Guideline(s) including Appendices, Complementary Files, and Supplementary Materials

□ Addition of one or more Appendices or Complementary Files to an existing Standard or Safety Guideline

□ Addition of one or more Related Information sections or Various Materials to an existing Standard or Safety Guideline

□ Revision or addition of one or more Subordinate Standards to an existing Primary Standard

| For Standards, identify the Standard Subtype below: |  |
| --- | --- |
| □ Classification | ( Guide |
| □ Practice | □ Specification |
| □ Test Method | □ Terminology |
| □ Miscellaneous (describe:) |  |

3. Projected Timetable for Completion:

a: General Milestones

| a. Activity Start: | May 15, 2020 | b. 1st Draft by: | June 15, 2020 |
| --- | --- | --- | --- |
| c. (Optional) Informational Ballot by: |  | d. Letter Ballot by: | August 15, 2020 |
| e: TC Chapter Approval By: | November 1, 2020 |  |

4. Liaisons:

a: List SEMI Global Technical Committees, TC Chapters, Subcommittees, or Task Forces in your or other Regions/Locales that should be kept informed regarding the progress of this activity.

(Refer to SEMI Standards organization charts and global technical committee charters as needed.)

b: List any planned Type I Liaisons with external nonprofit organizations (e.g., SDO) that should receive Draft Documents from Standards staff for feedback during this activity and be notified when the Letter Ballot is issued (see Procedure Manual § 7).

UPW IRDS Group, Yield Enhancement (US and Europe, working with coordination with group in Asia)

c: Intercommittee Ballots (check one): ( will be issued – identify the recipient global technical committee(s): Global Facilities □ will not be issued

5. Safety Considerations:

The resulting Document is expected (Check one):

□ to be a Safety Guideline ( NOT to be a Safety Guideline

NOTE FOR ‘to be a Safety Guideline‘: When all safety-related information is removed from the Document, the Document is NOT technically sound and complete – Refer to § 15.1 of the Regulations for special procedures to be followed. NOTE FOR ’NOT to be a Safety Guideline‘: When all safety-related information is removed from the Document, the Document is still technically sound and complete.

6. Intellectual Property Considerations:

a: For a new Standard or Safety Guideline and for any part to be modified or added in a Revision of published Standards and Safety Guidelines (Check one):

□ the use of patented technology is NOT required.

□ patented technology is intended to be included in the proposed Standard(s) or Safety Guideline(s).

(If the second box is checked, check one):

□ Letter of Intent received

□ Letter of Intent not received

b: For Revision, Reapproval, Reinstatement, or Withdrawal of existing Standard(s) and Safety Guideline(s) (Check one):

( there is no known material patented technology necessary to use or implement the Standard(s) and Safety Guideline(s)

□ there is previously known material patented technology necessary to use or implement the Standard(s) and Safety Guideline(s)

c: The body of the Document and any Appendices, Complementary Files, Related Information sections, or Various Materials that may or may not be a part of the Document by reference (Check one):

□ will incorporate Copyrighted Item ( the incorporation of Copyrighted Item will NOT be required

NOTE FOR ‘the use of patented technology or the incorporation of Copyrighted Item(s) is NOT required’: If in the course of developing the Document, it is determined that the use of patented technology or Copyrighted Item(s) is necessary for the Document, the provisions of Regulations § 16 must be followed. NOTE FOR ’will incorporate Copyrighted Item’: A copyright release letter must be obtained from the copyright owner prior to publication.

7. Comments, Special Circumstances:

UPW IRDS committee has developed an extensive amount of information that will be valuable in supporting F063 update. This takes into account involvement of the key end users participating in the IRDS development. UPW IRDS also supports the need of having UPW specification development outside of the IRDS effort. IRDS defines the needs of future technologies, instead of specifying design criteria for current plants. UPW IRDS group supports this guide development, following the timelines of the revision update every 2 years. 2020 update is expected to be significant, based on the change in IRDS.

8. TC Member Review (Check one):

| □ took place between (put dates here: | MM/DD/YYYY | and | MM/DD/YYYY | ) before approval at the TC Chapter |
| --- | --- | --- | --- | --- |
| Meeting, or |  |  |  |  |
| ( took place between (put dates here: | 05/01/2020 | and | 05/14/2020 | ) before approval by the GCS, or |
| □ is not required for this SNARF. |  |  |  |  |

NOTE FOR ‘TC Member Review’: A TC Member Review is required by the Regulations for a period of at least two weeks

before approval of a new, or a major revision of an existing, Standard or Safety Guideline. (See Regulations ¶ 8.2.1)

9. Approval Dates:

| TC Chapter or GCS: |  |
| --- | --- |
| Recorded in TC Chapter Minutes: |  |